## Faucets
Newport Brass & Ginger Cartridge Reference Guide
Newport Brass - Widespread Lavatory
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe
800 | 980 | 1400L | 2420 | 1-001 | 1-601 | 1-002 | 1-600 | 1-027
800C | 990 | 1500 | 2430
850 | 990L | 1600 | 2440
850C | 1000 | 1620 | 2450
880 | 1020 | 1640 | 2460
880C | 1030 | 1660 | 2470
890 | 1090 | 1740 | 2590
900 | 1200 | 1760 | 2920
910 | 1200C | 1770 | 2950
910C | 1220 | 2020 | 7000
920 | 1220C | 2030 | 7200
920C | 1230 | 2100 | 7300
930 | 1230C | 2400 | 8000
930L | 1400 | 2410 | 8200
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | *Notes
2040 | 2570 | 2990 | 3140 | 1-001 | *1-601 | 1-002 | *1-600 | *1-226 | * Valve mounting hardware is required if replacing the valve body
2060 | 2900 | 3100 | 3150
2560 | 2910 | 3120
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | *Notes
8100 |  |  |  | 1-001 | *1-601 | 1-002 | *1-600 | *1-328 | * Valve mounting hardware is required if replacing the valve body
10382
91004
91473
8300 |  |  |  | 1-001 | *1-601 | 1-002 | *1-600 | *1-329
10382
91004
91473
Newport Brass - Widespread Lavatory Long Stem
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe
1040 |  |  |  | 1-091 | 1-611 | 1-092 | 1-610 | 1-027
1680
1690
Newport Brass - Widespread Lavatory - 20 Point stems
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe
2480 |  |  |  | 1-141 | 1-569 | 1-142 | 1-568 | 1-226
2490
2540/A
2550 | [7 empty] | 1-027
2520 |  |  |  | 1-005 | 1-557 | 1-006 | 1-558 | 1-253
2530
Newport Brass - Discontinued Wide Spread Faucets
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | Notes
810 | 860 | 1050F | 2010 | 1-001 | 1-601 | 1-002 | 1-600 | 1-027 | Discontinued Product
820 | 870 | 1060 | 2200
830 | 950 | 1060F | 2300
840 | 960 | 1070
841 | 970 | 1080
853 | 1050 | 1100
Newport Brass - Discontinued Widespread Lavatory Long Stem
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | Notes
1700 |  |  |  | 1-091 | 1-611 | 1-092 | 1-610 | 1-027 | Discontinued Product
1720
Newport Brass - Wall Mounted Lavatory
Series/Collection |  |  |  | Valve | Cold Cartridge | Cold Torque Cartridge | Hot Cartridge | Hot Torque Cartridge | All Thread Nipple | 20-16 pt Adapters
3-851 | 3-947 | 3-2461 | 3-2921 | 1-532 | 1-510 | n/a | 1-511 | n/a | 10489 | 12062 = Adapter 92850 = Screw for Adapter
3-9301 | 3-1501 | 3-2481 | 3-2991
3-9301L | 3-1681 | 3-2491 | 7301
3-944 | 3-1761 | 3-2521
3-944L | 3-2061 | 3-2531
3-991 | 3-2401 | 3-2541
3-1003 | 3-2441 | 3-2551
3-991L | 3-2041 | 3-2471 | 3-3121 | 1-532T | n/a | 1-543 | n/a | 1-544 | 10631
3-1031 | 3-2101 | 3-2561
3-1771 | 3-2411 | 3-3031
3-2031 | 3-2451 | 3-3101
Newport Brass - Lavatory Bridge
Series/Collection |  |  |  | Cold Cartridge | Hot Cartridge | Mounting Hdwe
930B |  |  |  | 1-001 | 1-002 | 1-117
1000B
1030B
1691
Newport Brass - Center Set Lavatory
Series/Collection |  |  |  | Cold Cartridge | Hot Cartridge | Mounting Hdwe
801 |  |  |  | 1-005 | 1-006 | 91061 (x2)
7001
7001X |  |  |  | 1-001 | 1-002
Newport Brass - Single Hole Lavatory - Single Handle
Series/Collection |  |  |  | Cartridge | Notes
9203 |  |  |  | 1-588
1503 |  |  |  | 1-100
2043 |  |  |  | 1-298
2403 | 2433 | 2493 |  | 1-242
2413 | 2174
1203 | 1233 | 1623 |  | 1-259
1203-1 | 1233-1
2563 |  |  |  | n/a | cannot replace cartridge, must replace entire fixture
Newport Brass - Single Hole Lavatory - Two Handle
Series/Collection |  |  |  | Cold Cartridge | Hot Cartridge
932 |  |  |  | 1-001 | 1-002
Newport Brass - Prep/Bar Faucets
Single Handle |  |  |  | Cartridge |  | Pull Down Prep Faucets |  | Cartridge
9208 |  |  |  | 1-588 |  | 1030-5223 | 2500-5203 | 1-064
1508 |  |  |  | 1-100 |  | 1200-5223 | 2500-5223
2007 |  |  |  | 1-064 |  | 1500-5203 | 2510-5203
2008 |  |  |  | 1-064 |  | 1500-5223 | 2940-5223
2470-5203 |  |  |  | 1-064 |  | 2470-5223
Two-Handle Faucet |  |  |  | Cold Cartridge | Hot Cartridge
928 |  | 938 |  | 1-001 | 1-002
Two-Handle Faucet*** |  |  |  | Cold Cartridge | Hot Cartridge | Adapter & Screw | ***If Faucet is Older Than 8/2017 |  | *1608/1628 Faucets Only Pre 8/2017
1008 | 1628* | 8081 | 9281 | 1-141 | 1-142 | 12062 = Adapter | ***1-001 = Cold Cartridge | ***1-002 = Hot Cartridge | *1-382 = Cold Cartridge for old style 1608/1628 only | *1-383 = Hot Cartridge for 1608/1628 old style only
1038 | 1648 | 8881 | 9881
1208 | 1668 | 8901 |  |  |  | 92539 = Adapter Screw
1608* | 1688 | 9081
Center Set Faucet |  |  |  | Cold Cartridge | Hot Cartridge
808 - Discontinued |  |  |  | 1-005 | 1-006
7008 - Discontinued
7008X - Discontinued |  |  |  | 1-001 | 1-002
Newport Brass - Kitchen Faucets
Single Hole Kitchen Faucets |  |  |  | Cartridge | O-rings | Diverter
940 |  |  |  | 1-064 | 91031 (x2) | n/a
941 |  |  |  | 1-064 | 91031 (x2) | 11208 after 9/05 10323 before 9/05
9401 |  |  |  | 1-064 | n/a | n/a
2470-5303
2470-5313 |  |  |  | 1-064 | n/a | 11208
Pull-Down Kitchen Faucets |  |  |  | Cartridge
1030-5103 |  | 2500-5103 |  | 1-064
1200-5103 |  | 2500-5113
1500-5103 |  | 2500-5123
1500-5113 |  | 2510-5103
2470-5103 |  | 2940-5103
94P - Discontinued |  |  |  | 1-183
99P - Discontinued
Widespread Kitchen Faucets |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Diverter Tee Asm
942 |  |  |  | 1-001 | 1-601 | 1-002 | 1-600 | n/a
9901/L
943 |  |  |  | 1-001 | 1-601 | 1-002 | 1-600 | 1-536
946
9911/L
Kitchen Bridge Faucets |  |  |  | Cold Cartridge | Cold Block | Hot Cartridge | Hot Block | Stem Extension | Upper Seat Assembly | Diverter Cartridge | Handle Adapter & Screw
945* |  | 9461* |  | 1-001 | n/a | 1-002 | n/a | n/a | n/a | n/a | n/a
9451* |  | *See Note Below
9455 |  | 9463 |  | 1-005 | n/a | 1-006 | n/a | n/a | n/a | n/a | 12062 = Adapter 92539 = Screw
9457 |  | 9464
*If newer than 7/2017 use these cartridges/adapters
945-1 |  | 9458 |  | 1-005 | 1-555 | 1-006 | 1-556 | 1-153 | 1-152 | 11208 | n/a
9456 |  | 9462
9451-1 |  | 9459 |  | 1-005 | 1-555 | 1-006 | 1-556 | 1-151 | 1-152 | 11208 | n/a
9452-1 |  | 9460
9453-1
Pot Fillers |  |  |  | Cartridge | Spout Tip Cartridge | Base Handle Adapter & Screw | Spout Tip Handle Adapter & Screw
948 - Discontinued |  |  |  | 1-002 | n/a | n/a | n/a
949 - Discontinued
9481 |  |  |  | 1-002 | 1-134 | n/a | n/a
9482
9483
9484
9485 |  |  |  | 1-006 | 1-134 | n/a | n/a
9486
1030-5503 |  |  |  | 1-006 | 1-134 | 11835 = Adapter 92487 = Screw | 11834 = Adapter 92477 = Screw
1200-5503 |  |  |  | 1-006 | 1-134 | 12071 = Adapter 92809 = Screw | 12070 = Adapter 92014 = Screw
2470-5503 |  |  |  | 1-006 | 1-134 | 11835 = Adapter 92487 = Screw | 11834 = Adapter 92477 = Screw
2500-5503 |  |  |  | 1-006 | 1-134 | 11793 = Adapter 92490 = Screw | 11793 = Adapter 92490 = Screw
2940-5503 |  |  |  | 1-006 | 1-134 | 11834 = Adapter 92477 = Screw | 11834 = Adapter 92477 = Screw
Water Dispensers |  |  |  | Cold Cartridge | Hot Cartridge | Spout O-rings
104B/105B - Discontinued |  |  |  | n/a | n/a | 91099 (x2)
106 | 106C | 106H |  | 1-699 | 1-680 | 91017 (x2) 91382
107 | 107C | 107H
108 | 108C | 108H
1030-5603 |  |  |  | 1-699 | 1-710
1030-5613 |  |  |  | n/a | 1-710
1030-5623 |  |  |  | 1-699 | n/a
1200-5603 |  |  |  | 1-700 | 1-681
1200-5613 |  |  |  | n/a | 1-681
1200-5623 |  |  |  | 1-700 | n/a
2470-5603 |  |  |  | 1-699 | 1-682
2470-5613 |  |  |  | n/a | 1-682
2470-5623 |  |  |  | 1-699 | n/a
2940-5603 |  |  |  | 1-699 | 1-710
2940-5613 |  |  |  | n/a | 1-710
2940-5623 |  |  |  | 1-699 | n/a
2500-5613 |  |  |  | n/a | 1-681 | 91018
2500-5623 |  |  |  | 1-700 | n/a
Ginger Water Delivery - Widespread Lavatory
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | Notes
G45-001 |  |  |  | 1-141 | 1-569 | 1-142 | 1-568 | 1-027 | Discontinued Product
G45-101 | [7 empty] | 1-252
G28-101
G28-111
G27-001 |  |  |  | 1-005 | 1-557 | 1-006 | 1-558 | 1-253
G27-101
Ginger Water Delivery - Wall Mounted Lavatory
Series/Collection |  |  |  | Valve | Cold Cartridge | Hot Cartridge | All Thread Nipple | Notes
G45-121 |  |  |  | 1-560 | 1-510 | 1-511 | 10489 | Discontinued Product
G28-121
G27-011
G27-111
Ginger Water Delivery - Prep/Bar Faucets
Single Handle |  |  |  | Cartridge | Notes
G45-113 |  |  |  | 1-588 | Discontinued Product

## Showers
Newport Brass & Ginger Cartridge Reference Guide
Balanced Pressure Shower & Tub Shower Valves
BP Valve Part # | Cartridge | Diverter Cartridge | Stem Kit - 16pt | Stem Kit - 20pt | Stem Plate | Stem Plate Screws | Limit Stop | Mechanical Stop | Valve Body Cover | 3" Stem Extension | 3/4" Diverter Extension
1-594 | 1-207 | N/A | 1-074 | 1-255 | 11459 | 92014 (x2) | 10493 | 10494 | 1-039-4 | 1-249 | N/A
1-595 |  | 1-043 | [8 empty] | 1-073
BP Valve Part # | Cartridge | Diverter Cartridge | Stem Kit - 16pt | Stem Kit - 20pt | Stem Plate w/Screws | Integral Stop | Limit Stop | Valve Body Cover | 3" Stem Extension | 3/4" Diverter Extension
1-684 | 1-280 | n/a | 1-074 | 1-255 | 1-283 | 1-278 | 12105 | 1-281 | 1-249 | 1-073
1-685 |  | 1-279
Old Style BP Valve Part # Before 5/09 | Cartridge | Filters | Diverter Cartridge | Stem Kit - 16pt | Stem Kit - 20pt | Stem Plate | Stem Plate Screws | Limit Stop | Mechanical Stop | Valve Body Cover
1-504 | 1-028 | 1-068 | N/A | 1-074 | 1-255 | 10466 | 92014 (x2) | 10493 | 10494 | 1-039-4
1-505 |  |  | 1-043
Important Note: | If the BP valve is from prior to 2002 verify if the stem the handle attachs to is attached to the main cartridge with a
screw through the center. If the stem is attached to the cartridge with a screw then a new stem kit is required as well as a
new cartridge.
Thermostatic Valve
3/4" Thermostatic Valve After 09/02 - (Current) | Cartridge | Check Stops | Extension
1-540 | 1-102 | 1-103 | 2-260/(finish)
3/4" Thermo Valve Before 09/02 - (Old Style) | Cartridge | Check Stops
1-540 | 1-088 | 1-089
1/2"Thermostatic Valve | Thermo Cartridge | Check Stops | Diverter/Volume Control Cartridge | Diverter/Volume Control Stem Adapter | Diverter Nut Asm | Extension
1-741 | 1-338 | 1-103 | 1-366 | 1-367 | n/a | 20-146/(finish)
1-742 | 1-338 | 1-103 | 1-342 | 1-343 | 1-353 | 20-146/(finish)
1-743 | 1-338 | 1-103 | 1-336 | 1-343 | 1-354 | 20-146/(finish)
1-744 | 1-338 | 1-103 | 1-364 | 1-343 | 1-354 | 20-146/(finish)
Stop Valves
Valve | Cartridge | *Torque Cartridge | All-thread | 20 - 16 pt adapters
1-606C / 1-606CT* - Discontinued | 1-510 Does come with all-thread nipple | *1-543 Does come with all-thread nipple | 10489 *10631 = all-thread nipple for torque cartridges | 12062 = adapter 92850 = adapter screw
1-606H / 1-606HT* | 1-511 Does come with all-thread nipple | *1-544 Does come with all-thread nipple
1-607C / 1-607CT* - Discontinued | 1-518 Does come with all-thread nipple | *1-182 Does come with all-thread nipple
1-607H / 1-607HT* | 1-518 Does come with all-thread nipple | *1-182 Does come with all-thread nipple
1-563 - Discontinued | 1-518 Does come with all-thread nipple | *1-182 Does come with all-thread nipple |  | n/a
1-679 - Discontinued | 1-511 Does come with all-thread nipple | *1-544 Does come with all-thread nipple |  | n/a
Diverter Valves
Valve | Cartridge | Stem Kit | Two-way Washer | Three-way Washer | 20 - 16 pt adapters | *Notes
1-617 | 1-189 | *11345 = stem 91099 = o-ring for stem 10631 = all-thread | 91439 | 91440 | *12062 = adapter 92850 = adapter screw | ***Send adapter and screw with stem kit
1-618 - Discontinued | 1-189 | 11345 = stem 91099 = o-ring for stem 10631 = all-thread | 91439 | 91440 | 12062 = adapter 92850 = adapter screw
1-608* - Discontinued | 1-072 | 1-071 | n/a | n/a | n/a
1-605* - Discontinued | n/a | 1-071 | n/a | n/a | n/a
Two/Three Handle Tub/Shower Valves
Valve | Cold Cartridge | *Cold Torque Cartridge | Hot Cartridge | *Hot Torque Cartridge | All-thread | Diverter Cartridge | Diverter Stem Kit | 20 - 16 pt adapters
1-500 / 1-500T* | 1-510 Does come with all-thread nipple | *1-543 Does come with all-thread nipple | 1-511 Does come with all-thread nipple | *1-544 Does come with all-thread nipple | 10489 *10631 = all-thread nipple for 1-543/1-544 only | n/a | n/a | 12062 = adapter 92850 = adapter screw
1-564 - Discontinued | 1-510 Does come with all-thread nipple | *1-543 Does come with all-thread nipple | 1-511 Does come with all-thread nipple | *1-544 Does come with all-thread nipple |  | n/a | n/a | 12062 = adapter 92850 = adapter screw
1-501 - Discontinued | 1-510 Does come with all-thread nipple | *1-543 Does come with all-thread nipple | 1-511 Does come with all-thread nipple | *1-544 Does come with all-thread nipple |  | 1-072 | 1-071 | 12062 = adapter 92850 = adapter screw
Important Note: | Verify the age of the valve if cartridge replacement is needed for the 1-500 and 1-501. If the valve is from prior to 2000
the above listed cartridges may not be correct as there are discontinued cartridges that are no longer available. A Picture of the actual
cartridge itself is the only way to identify the correct replacement part.

## RT & Bidets
Newport Brass & Ginger Cartridge Reference Guide
Newport Roman Tub Sets
Valve Kit / RT Set |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Valve Mtg Hdwe | Div Valve | Div Cart | Quick Connect | QC Spacer | QC Ext
1-502 |  | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | na | na | 1-016 | na | 1-035
1-503 |  | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | 1-630 | 1-191 | 1-016 | na | 1-035
1-506 |  | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | na | na | 1-016 | 10382 | 1-035
1-507 |  | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | 1-630 | 1-191 | 1-016 | 10382 | 1-035
1-522 |  | 1-613 | 1-093 | 1-612 | 1-094 | 10529 | na | na | 1-016 | na | 1-035
1-523 |  | 1-613 | 1-093 | 1-612 | 1-094 | 10529 | 1-630 | 1-191 | 1-016 | na | 1-035
1-586 |  | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | na | na | 1-163 | na | 1-035
1-587 |  | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | 1-630 | 1-191 | 1-163 | na | 1-035
1-636 |  | 1-581 | 1-143 | 1-580 | 1-144 | 10529 | na | na | 1-254 | na | 1-035
1-570 |  | 1-581 | 1-143 | 1-580 | 1-144 | 10529 | na | 1-631 | na | na | na
1-677 |  | 1-581 | 1-143 | 1-580 | 1-144 | 12280 - Upper 10529 - Lower | na | na | 1-230 | na | 1-035
1-678 |  | 1-581 | 1-143 | 1-580 | 1-144 | 12280 - Upper 10529 - Lower | 1-622 | 1-191 | 1-230 | na | 1-035
1-565 |  | 1-621 | 1-145 | 1-620 | 1-146 | 11939 - Upper 10529 - Lower | na | na | 1-016 | na | 1-035
1-566 |  | 1-621 | 1-145 | 1-620 | 1-146 | 11939 - Upper 10529 - Lower | 1-622 | 1-191 | 1-016 | na | 1-035
1-653 |  | 1-623 | 1-143 | 1-624 | 1-144 | 12280 - Upper 10529 - Lower | na | na | 1-016 | na | 1-035
Valve Kit / RT Set |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Valve Mtg Hdwe | Div Valve | Div Cart | Quick Connect | QC Spacer | QC Ext
1-571 |  | 1-623 | 1-143 | 1-624 | 1-144 | 12280 - Upper 10529 - Lower | 1-622 | 1-191 | 1-016 | na | 1-035
1-665 |  | 1-553 | 1-003 | 1-552 | 1-004 | 12280 - Upper 10529 - Lower | na | na | 1-016 | na | 1-035
1-666 |  | 1-553 | 1-003 | 1-552 | 1-004 | 12280 - Upper 10529 - Lower | 1-630 | 1-191 | 1-016 | na | 1-035
1-697 |  | 1-553 | 1-003 | 1-552 | 1-004 | 12280 - Upper 10529 - Lower | na | na | 1-230 | na | 1-035
1-698 |  | 1-553 | 1-003 | 1-552 | 1-004 | 12280 - Upper 10529 - Lower | 1-630 | 1-191 | 1-230 | na | 1-035
1-547 |  | 1-615 | 1-093 | 1-616 | 1-094 | 10529 | na | na | 1-016 | na | 1-035
1-548 |  | 1-615 | 1-093 | 1-616 | 1-094 | 10529 | 1-630 | 1-191 | 1-016 | na | 1-035
1-658 |  | 1-553 | 1-003 | 1-552 | 1-004 | 1-318 - Upper 10529 - Lower | 1-630 | 1-191 | 1-324 | na | na
1-659 |  | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | na | na | 1-320 | na | na
1-660 |  | 1-553 | 1-003 | 1-552 | 1-004 | 1-319 - Upper 10529 - Lower | na | na | 1-320 | na | na
1-661 |  | 1-603 | 1-003 | 1-602 | 1-004 | 10529 |  |  | 1-320 | na | na
7206 |  | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | na | 1-035 | 1-016 | 10382 | 1-035
7306 |  | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | na | 1-035 | na | na | na
Newport Roman Tub Other
Exposed Tub & Hand Shower |  |  |  | Cold Cart | Hot Cart | Div Cart | Handle Adapter |  | Exposed Tub & Hand Shower | Cold Cart | Hot Cart
850-4273 | 920-4282 | 1020-4273 | 1600-4282 | 1-326 - cartridge marked as hot, goes in cold side | 1-325 - cartridge marked as cold, goes in hot side | 1-076 | 12062 = adapter 92539 = adapter screw |  | 933* | 1-001 | 1-002
850-4283 | 933* | 1020-4283 | 1620-4273 | [5 empty] | 934*
910-4273 | 934* | 1200-4273 | 1620-4283 | [5 empty] | 1013*
910-4283 | 1013* | 1200-4283 | 2590-4273 | [5 empty] | 1014*
920-4272 | 1014* | 1600-4272 | 2590-4283 | [5 empty] | Notes | If unit is older than 2017 use these cartridges
* If unit is older than 2017 - See Other Cartridge List
1760-4272 | 1770-4273 | 2400-4272 | 2400-4273 | 1-326 - cartridge marked as hot, goes in cold side | 1-325 - cartridge marked as cold, goes in hot side | 1-076 | 12062 = adapter 92538 = adapter screw
1760-4282 | 1770-4283 | 2400-4282 | 2400-4283
Floor Mount Tub Filler |  | Cartridge | Diverter Cartridge
2040-4261 |  | 1-292 | 2-914
2480-4261
2560-4261
Ginger Roman Tub Sets - Discontinued
Valve Kit / RT Set |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Valve Mtg Hdwe | Div Valve | Div Cart | QC | QC Spacer | QC Ext
G27-006/G27-106 |  | 1-652 | 1-145 | 1-651 | 1-146 | 11939 - Upper 10529 - Lower | na | na | na | na | na
G27-007/G27-107 |  | 1-621 | 1-145 | 1-620 | 1-146 | 11939 - Upper 10529 - Lower | 1-622 | 1-191 | na | na | na
G28-106 |  | 1-623 | 1-143 | 1-624 | 1-144 | 12280 - Upper 10529 - Lower | na | na | na | na | na
G28-107 |  | 1-623 | 1-143 | 1-624 | 1-144 | 12280 - Upper 10529 - Lower | 1-622 | 1-191 | na | na | na
G45-006/G45-106 |  | 1-581 | 1-143 | 1-580 | 1-144 | 10529 (2 per valve) | na | na | 1-254 | na | 1-035
G45-007/G45-107 |  | 1-581 | 1-143 | 1-580 | 1-144 | 10529 (2 per valve) | na | 1-631 | na | na | na
Newport Bidet Sets
Bidet Set |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert
809 | 999L | 1609 | 2109 | 1-601 | 1-001 | 1-600 | 1-002 | 1-027 | 1-066 | 10605
859 | 1009 | 1629 | 2409
889 | 1039 | 1649 | 2419
909 | 1099 | 1669 | 2449
919 | 1209 | 1749 | 2459
929 | 1229 | 1769 | 2599
989 | 1239 | 1779 | 2929
999 | 1509 | 2029
Bidet Set |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert | *Notes
2049 | 2579 | 3109 |  | *1-601 | 1-001 | *1-600 | 1-002 | 1-226 | 1-066 | 10605 | *If sending valve body, must send mtg hdwe
2069 | 2909 | 3149
2579 | 2919 | 3159
Bidet Set - Long Stem |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert
1049 |  |  |  | 1-611 | 1-091 | 1-610 | 1-092 | 1-027 | 1-066 | 10605
1689 |  |  |  |  | 1-091 |  | 1-092
Bidet Set - 20 Point |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert
2489 |  |  |  | 1-569 | 1-141 | 1-568 | 1-142 | 1-252 | 1-066 | 10605
2529 |  |  |  | 1-557 | 1-005 | 1-558 | 1-006 | 1-253
2539
2549 |  |  |  | 1-569 | 1-141 | 1-568 | 1-142 | 1-252
2559 | [7 empty] | 1-027
Ginger Bidet Sets - Discontinued
Bidet Set - 20 Point |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert | Notes
G27-008/G27-108 |  |  |  | 1-557 | 1-005 | 1-558 | 1-006 | 1-253 | 1-066 | 10605 | Discontinued
G28-108 |  |  |  | 1-569 | 1-141 | 1-568 | 1-142 | 1-252
G45-108 |  |  |  | 1-569 | 1-141 | 1-568 | 1-142 | 1-027